# A Guide to Average Life Expectancies of Home Components

As far as house components go, a lot depends on the quality of the product, the environment they’re in, and how the components are used (or abused).  As an example, the average lifespan of a “20-year roof shingle” is 14 years in a hot environment like Phoenix, Arizona but nearly 21 years in a moderate Reading, Pennsylvania.

Over time, manufacturers, product associations and home inspectors have developed longevity “rules of thumb.”  Here are the average life expectancies of some of the major parts of your new home*:

Appliances:						Years

| Dishwasher | 10 |
| --- | --- |
| Microwave | 11 |
| Refrigerator | 17 |
| Dryer | 14 |
| Washer | 13 |
| Electric range | 17 |
| Gas range | 19 |

House Systems						Years

| Water heater | 11-14 |
| --- | --- |
| Central air conditioning unit | 15 |
| Window air conditioner | 10 |
| Sump pump | 10 |
| Gas or oil furnace | 18 |

Kitchen and Bath					Years

| Cast-iron sink | 25-30 |
| --- | --- |
| Enamel steel sink | 5-10 |
| Cast-iron tub | 50 |
| Fiberglass tub | 10-15 |
| Toilet | 50 |
| Cast-iron waste piping | 75-100 |

House Exterior						Years

| Exterior paint | 7-10 |
| --- | --- |
| Asphalt and wood shingles | 15-30 |
| Tile roofing | 50 |
| Gutters and downspouts | 30 |
| Wood siding | 10-100 |
| Vinyl siding | 50 |
| Stucco | Lifetime |
| Exterior door (protected overhang) | 80-100 |
| Exterior door (unprotected and exposed) | 25-30 |

House Interior						Years

| Carpet | 11 |
| --- | --- |
| Oak or pine flooring | Lifetime |
| Vinyl sheet or tile | 20-30 |
| Interior paint | 5-10 |
| Wallpaper | 7 |

Landscaping						Years

| Wooden deck | 15 |
| --- | --- |
| Concrete walk | 24 |
| Asphalt driveway | 10 |
| Fence | 12 |

*Based on information developed for the National Association of Homes Builders (NAHB) Economic Department.  All values may vary by the product used, homeowner usage and maintenance, and environmental issues of the area of the country in comparison.  This is a standard guide only, and should not be used as a measurement in individual homes based upon the above stated standards.